# NWPCAD017 Operate and maintain salt interception works

Release: 1

NWPCAD017 Operate and maintain salt interception works

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to operate and maintain salt interception works. It includes operating and maintaining salt water interception works. This unit applies to field staff with the responsibility for making decisions relating to maintenance, repairs and operations as well as providing detailed reports on performance and optimisation of the salt interception works. Those undertaking this unit will work independently under appropriate supervision while performing routine tasks in a range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare work | 1.1 | Collect data to determine ground water levels |
|  |  | 1.2 | Determine evaporation pond water balance capacity |
|  |  | 1.3 | Develop salt interception plan according to workplace procedures |
| 2 | Operate salt interception works | 2.1 | Identify, set and adjust pump station components according to manufacturer instructions |
|  |  | 2.2 | Conduct routine security inspections according to workplace procedures |
|  |  | 2.3 | Operate pump station according to manufacturer instructions |
| 3 | Maintain salt interception works | 3.1 | Conduct routine maintenance of salinity pump stations including locking and tagging out of equipment |
|  |  | 3.2 | Conduct acid dosing of salinity lines |
|  |  | 3.3 | Maintain saline water collection and disposal pipelines |
|  |  | 3.4 | Conduct repairs to pipelines and valves according to workplace procedures |
| 4 | Enhance salt interception performance | 4.1 | Optimise salt interception performance by adjusting system processes |
|  |  | 4.2 | Undertake hydraulic performance of saline collection and disposal pipelines |
| 5 | Compile salt interception reports | 5.1 | Collect required data from monitoring points |
|  |  | 5.2 | Report salt interception works performance to relevant personnel |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU033 Operate and maintain salt interception works.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037