# NWPCAD019 Monitor and operate groundwater extraction

Release: 1

NWPCAD019 Monitor and operate groundwater extraction

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor and operate groundwater extraction. It includes monitoring the extraction of water from waterways and water bodies and reporting risks, compliance and complaints. It also includes operating pumps and meters, monitoring availability and quality of supply, controlling water flows from the source and applying legislative and workplace requirements. This unit applies to field staff with responsibility for ensuring water extraction complies with water use legislation. Those undertaking this unit would work under appropriate supervision, while performing routine tasks in range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Interpret relevant legislation, workplace procedures and requirements |
|  |  | 1.2 | Locate bore sites from plans and job specifications |
|  |  | 1.3 | Schedule and plan inspection of bore asset and communicate with appropriate personnel |
|  |  | 1.4 | Select, check and prepare equipment to monitor water extraction |
|  |  | 1.5 | Conduct a risk assessment of bore operations and determine control measures |
| 2 | Monitor and operate groundwater extraction systems | 2.1 | Monitor designated locations within groundwater source area according to agreed schedule |
|  |  | 2.2 | Conduct inspection of bore assets, take meter readings and for water depth |
|  |  | 2.3 | Calculate recharge and extraction rates |
|  |  | 2.4 | Collect samples and conduct standard tests according to workplace procedures |
|  |  | 2.5 | Adjust pump flows to meet customer orders |
|  |  | 2.6 | Identify breaches according to legislation and workplace procedures |
| 3 | Identify and report risks, breaches and complaints | 3.1 | Identify risks to stakeholders and environment |
|  |  | 3.2 | Identify and report breaches according to workplace procedures |
|  |  | 3.3 | Investigate and report complaints from the stakeholders regarding water allocation and quality |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU051 Monitor and operate groundwater extraction.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037