# NWPCAD021 Coordinate and monitor bulkwater system operations

Release: 1

NWPCAD021 Coordinate and monitor bulkwater system operations

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to coordinate and monitor bulkwater system operations. It includes monitoring and coordinating the operation of bulkwater systems, measuring and reporting on system performance and process quality control. This unit applies to workers responsible for ensuring that bulkwater system operations are coordinated and monitored to ensure compliance with organisational and statutory requirements. Those undertaking this unit would work autonomously, usually with supervisory responsibilities, while performing complex tasks in a range of contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Confirm performance measures | 1.1 | Identify water flow, quality and quantity requirements |
|  |  | 1.2 | Identify surveillance and stakeholder requirements |
|  |  | 1.3 | Identify operational performance measures |
|  |  | 1.4 | Identify environmental factors impacting on water flows and quality |
| 2 | Monitor and coordinate asset performance | 2.1 | Identify hazards, assess risks and implement control measures according to workplace procedures |
|  |  | 2.2 | Select, fit and use equipment, including personal protective equipment |
|  |  | 2.3 | Apply monitoring and testing programs according to workplace procedures |
|  |  | 2.4 | Monitor assets to ensure performance meets specifications in management plan |
|  |  | 2.5 | Develop and schedule maintenance programs |
|  |  | 2.6 | Monitor water flows and quality according to stakeholder needs |
|  |  | 2.7 | Coordinate processes to meet plan requirements and targets |
|  |  | 2.8 | Optimise system performance according to workplace procedures |
| 3 | Finalise work | 3.1 | Analyse, record and report coordination and monitoring data to relevant stakeholders |
|  |  | 3.2 | Identify and report current and potential problems |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU041 Coordinate and monitor bulkwater system operations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037