# Assessment Requirements for NWPGEN008 Sample and test wastewater

Release: 1

Assessment Requirements for NWPGEN008 Sample and test wastewater

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. To be deemed competent the candidate must be assessed in a minimum of three of the types of tests, one of the types of condition and one of the types of methods listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

calibrating testing equipment

interpreting sampling and testing requirements

preparing, checking and using equipment

preparing, collecting, labelling and preserving water samples

disposing of waste and spent samples

planning and preparing for water sampling tasks

recording all required information

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

Basic knowledge of:

chain of custody

range and purpose of basic wastewater testing and sampling

relevant policies and procedures

blind sampling

abnormal characteristics of water samples

atypical test result data

relevant work-related calculations

maintenance and storage of reagents

requirements for maintaining sample integrity

relevant legislative and organisational requirements

water sample preparation

work planning processes

effects of weather and conditions on work

hazards associated with collection of water samples

incident management principles

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037