# Assessment Requirements for NWPGEN009 Perform laboratory testing

Release: 1

Assessment Requirements for NWPGEN009 Perform laboratory testing

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. To be deemed competent the candidate must be assessed in a minimum of one type of sample preparation and minimum of three of the types of complex tests from either the wastewater or drinking water options listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

comparing sample description with the specification, record results and report discrepancies

adopting hygienic work practices

limiting hazards and contamination to self, work area and environment

producing laboratory reports and logs

using laboratory safety equipment and personal protective equipment

interpreting laboratory test methods

interpreting policies, procedures and standards

interpreting and recording test results, including calculation of results from test data where required

using potentiometric, ion selective, spectrophotometric, volumetric and gravimetric laboratory equipment

performing sub-sample and testing products

labelling samples for testing

registering and preserving samples

selecting the correct equipment and checking equipment performance

maintaining a safe work environment

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

Operational knowledge of:

purpose of tests

principles of the standard method

calibration and/or pre-use equipment checks and their basis

relevant standards and specifications and their interpretation

source of uncertainty in measurements and methods for control

importance and appropriate use of certified reference materials

procedures for recognition of unexpected or unusual results and likely causes

WHS for sample and testing

safety data sheets

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037