# NWPGEN009 Perform laboratory testing

Release: 1

NWPGEN009 Perform laboratory testing

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. Supersedes and is equivalent to NWP364B Perform laboratory testing. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice All elements and PC rewritten with occupational outcome of the unit maintained |

# Application

This unit describes the skills required to perform laboratory tests using standard methods and procedures and with access to readily available advice.

This unit applies to those working in the water industry, but could be used by other sectors.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under indirect supervision, while performing complex tasks in a range of contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

General

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Prepare samples for testing | 1.1 Identify samples to be collected. 1.2 Collect samples ensuring that types, locations and times comply with requirements. 1.3 Maintain integrity of samples during sampling. 1.4 Assess and report abnormal characteristics and apply incident management principles. 1.5 Label, register and record laboratory samples, ensuring that the required information is transcribed accurately and legibly. 1.6 Identify samples to be tested, appropriate test method, equipment and safety requirements. |
| 2. Prepare for laboratory testing | 2.1 Set up test equipment and/or reagents in accordance with the specified test method. 2.2 Conduct pre-use and safety checks. 2.3 Identify and report faulty or unsafe equipment to appropriate personnel. 2.4 Check the calibration status of equipment and conduct calibration or report calibration requirements to appropriate personnel. |
| 3. Perform tests on samples | 3.1 Preserve the integrity of samples and eliminate the possibility of cross-contamination. 3.2 Identify, prepare, and weigh or measure sample and standards to be tested. 3.3 Follow test methods and perform sequence of tests using safety equipment. 3.4 Perform calculations. 3.5 Shut down equipment. 3.6 Store unused reagents and dispose of wastes as required by relevant regulations and codes. 3.7 Clean and store equipment. |
| 4. Finalise work | 4.1 Apply chain of custody principles. 4.2 Record results. 4.3 Identify and report ‘out of specification’ or atypical results. 4.4 Report observations or measurements requiring further action. 4.5 Clear and restore work area. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

# Range of Conditions

| Types of sample preparation include: | sub sampling dilution filtration digestion mixing/agitation heating/cooling neutralisation/ quenching |
| --- | --- |
| Off-site/laboratory complex tests for wastewater include: | chlorine free ammonia colour redox Sludge Volume Index alkalinity settle ability Mixed Liquor Suspended Solids Chemical Oxygen Demand, Biochemical Oxygen Demand total organic carbon nutrient testing filamentous organisms spectrophotometric analysis potentiometric analysis colorimetric comparators volumetric analysis microscopy gravimetric analysis |
| Off-site/laboratory complex tests for drinking water include: | taste and odour chlorine free ammonia colour redox UV absorbance and transmittance nutrient testing fluoride iron manganese microscopy Silt Density Index gravimetric analysis aluminium alkalinity hardness jar testing spectrophotometric analysis potentiometric analysis colorimetric comparators volumetric analysis |

# Unit Mapping Information

Supersedes and is equivalent to NWP364B Perform laboratory testing.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037