# NWPGEN020 Sample and test source or drinking water

Release: 1

NWPGEN020 Sample and test source or drinking water

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to sample and test source or drinking water. It includes preparing for and conducting worksite source and treated water quality sampling and testing. It also includes reporting abnormal findings and finalising work. This unit does not include off-site laboratory testing. This unit applies to those working in field operations in various industries. Those undertaking this unit would work under appropriate supervision, while performing routine tasks in a range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

General

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for water quality sampling and testing | 1.1 | Determine work requirements from standard operation procedures |
|  |  | 1.2 | Confirm and record samples, locations and tests to comply with requirements |
|  |  | 1.3 | Select and check relevant equipment and tools to meet tasks and safety requirements |
|  |  | 1.4 | Select and apply relevant sample preservation methods |
|  |  | 1.5 | Select, fit and use personal protective equipment according to workplace procedures |
|  |  | 1.6 | Limit hazards and contamination to protect self, work area and environment |
| 2 | Conduct water quality sampling and testing | 2.1 | Apply chain of custody principles according to workplace procedures |
|  |  | 2.2 | Collect samples ensuring types, locations, times and labels comply with requirements and workplace procedures |
|  |  | 2.3 | Prepare samples for off-site laboratory testing according to requirements |
|  |  | 2.4 | Maintain integrity of samples during sampling and onsite testing |
|  |  | 2.5 | Conduct worksite water quality tests according to workplace procedures and record results |
|  |  | 2.6 | Assess and report abnormal characteristics to relevant personnel |
| 3 | Finalise work | 3.1 | Clear and restore work area |
|  |  | 3.2 | Report observations or measurements requiring further action to relevant personnel |
|  |  | 3.3 | Dispose of samples, clean and store test equipment according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPGEN007 Sample and test drinking water.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPGEN020 Sample and test source or drinking water

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

assessing risks calibrating worksite testing equipment collecting samples from at least one of the following: source water treated water disposing of waste and spent samples following sampling and testing procedures performing at least three of the following types of worksite tests on the collected samples: chlorine colour dissolved oxygen electrical conductivity pH temperature turbidity planning and preparing for water sampling tasks preparing, checking and using equipment preparing, collecting, labelling and preserving water samples recording all required information

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

abnormal characteristics of water samples and test results chain of custody effects of weather and conditions on work hazards associated with collection of water samples maintenance and storage of reagents range and purpose of on worksite water quality testing and sampling requirements for maintaining sample integrity sample types for the following tests: chemical microbial physical radiological water sample preparation workplace policies and procedures

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037