# Assessment Requirements for NWPGEN021 Sample and test wastewater

Release: 1

Assessment Requirements for NWPGEN021 Sample and test wastewater

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

assessing risks calibrating worksite testing equipment collecting samples from at least one of the following: effluents raw wastewater reclaimed water sludges disposing of waste and spent samples following sampling and testing procedures performing at least three of the following types of worksite tests on the collected samples: dissolved oxygen electrical conductivity foaming microscopic observations odours pH redox potential settleability sludge blanket depth temperature visual observations planning and preparing for wastewater sampling tasks preparing, checking and using equipment preparing, collecting, labelling and preserving wastewater samples recording all required information

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

abnormal characteristics of wastewater samples and test results chain of custody effects of weather and conditions on work hazards associated with collection of wastewater samples maintenance and storage of reagents range and purpose of worksite wastewater testing and sampling requirements for maintaining sample integrity sample collection methods: composite grab sample types for the following tests: chemical microbial physical wastewater sample preparation workplace policies and procedures

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037