# Assessment Requirements for NWPGEN027 Monitor and operate pump stations

Release: 1

Assessment Requirements for NWPGEN027 Monitor and operate pump stations

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

checking quality of outsourced maintenance work collecting data conducting a security inspection finalising work, including completing documentation following plans and instructions identifying system faults, operational problems and hazards maintaining workplace records monitoring and adjusting pump station performance operating and maintaining pumps and pumping stations operating service planning and preparing for work, including selecting equipment and chemicals producing reports and logs responding to operational problems using safety and personal protective equipment using tools, equipment and machinery.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

control systems effects of weather and conditions on system including lightning strikes environmental aspects of operation equipment operation, capacity and limitations hazardous materials handling high and low voltage requirements lock-out procedures for mechanical and electrical installations principles affecting selection of pump station monitoring points and timing of monitoring activities principles and purpose of pump operation pump and pump station operation and maintenance procedures and standards pump station components relevant legislation, regulations and workplace procedures relevant utilities and service bodies risk factors and potential hazards of operating wastewater transfer systems system hydraulics including suction and lift system layout types of pump and their operational function work, health and safety (WHS) requirements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037