# Assessment Requirements for NWPHYD011 Measure and process low and medium flows using area velocity methods

Release: 1

Assessment Requirements for NWPHYD011 Measure and process low and medium flows using area velocity methods

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the area velocity methods listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

assessing risks and taking appropriate precautions and/or actions

maintaining testing equipment in good order and calibrating

interpreting and applying technical documentation

using surveying equipment to identify site location

performing basic mathematical calculations using safety equipment and personal protective equipment

identifying potential or actual operational problems

communicating with employees and customers

using computer and communication systems

giving and receiving instructions

collecting discharge data

gathering, interpreting and applying complex documentation related to the specification of hydrographic data collection and reporting procedures

collecting samples

analysing and verifying data using standard procedures, software and databases

preparing reports

storing and archiving data

identifying, reporting and solving potential or actual problems within scope of job function

positioning equipment

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

limitations of the system principle of areavelocity measurement of discharge

turbulent and laminar flow

equipment testing procedures

WHS procedure

characteristics of a suitable section for wading and boat gauging and how to make modifications

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037