# Assessment Requirements for NWPHYD012 Establish monitoring sites

Release: 1

Assessment Requirements for NWPHYD012 Establish monitoring sites

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in doing at least two installations on at least two types of monitoring sites. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least oneoccasion.

applying construction and mechanical skills to the effective establishment of monitoring sites and facilities

using work practices to minimise environmental impact of the establishment process

using hand and power tools and other relevant equipment

conducting inspections

producing and compiling reports and documents

reading and interpreting plans, specifications, maps and job instructions

communicating with employees and customers

using communication systems

giving and receiving instructions

applying skills specific to the industry and for working safely in remote locations including:

remote area survival

water safety

high-voltage work

hazardous environments

confined spaces

gathering, interpreting and applying construction and technical documentation relating to the establishment of monitoring sites and facilities

adhering to organisational and industry standards for testing and monitoring instruments

working safely using safety equipment and personal protective equipment

identifying, reporting and solving potential or actual problems with scope of job function.

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

mathematics and hydrology principles relevant to the role

operating parameters, processes and capacity limitations of monitoring sites and facilities

risk factors and potential hazards involved in establishing sites and facilities

WHS procedures

standards relevant to the installation tasks including construction standards and codes

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037