# Assessment Requirements for NWPHYD013 Operate, maintain and decommission monitoring sites

Release: 1

Assessment Requirements for NWPHYD013 Operate, maintain and decommission monitoring sites

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting and applying technical documentation to the installation and maintenance of instruments and equipment

applying mechanical, electrical and electronic skills to the installation and maintenance of instruments and equipment

using computer systems and system analysis equipment and tools to conduct in situ calibration of monitoring equipment and systems

using required work practices to minimise environmental impact of the installation process

using safety equipment and personal protective equipment

using hand and power tools

identifying and responding to potential or actual operational problems

conducting inspections

producing basic reports

collecting and analysing data

reading and interpreting plans, specifications, maps and job instructions

interpreting and applying technical information and applications related to the installation and maintenance of a range of hydrographic instruments and equipment

conducting tests of a range of hydrographic instruments and equipment and making adjustments to maintain accuracy

installing and maintaining a range of hydrographic instruments and equipment in a range of sites and conditions and under conditions of extreme weather and high risk

analysing risks in a range of locations and conditions and working safely in routine and extreme conditions

identifying, reporting and solving potential and current problems, and taking immediate action to address high risk conditions

storing and protecting instruments and equipment by stowing them in appropriate containers for storage and transport and by protecting them

drafting decommissioning report with authorisation

implementing decommission procedure for data management, site database, telemetry and internet

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

mathematical and scientific principles appropriate to the work role

operating parameters, processes and capacity limitations of hydrographic instruments and equipment

electrical and/or electronic systems operating principles

risk factors and potential hazards involved with installing and monitoring instruments and equipment

effects of weather and conditions on operating of hydrographic instruments and equipment

computer based instrument and/or system analysis software and packages

WHS procedures

standards relevant to the tasks

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037