# Assessment Requirements for NWPHYD014 Measure and process medium and high flows using a range of methods and equipment

Release: 1

Assessment Requirements for NWPHYD014 Measure and process medium and high flows using a range of methods and equipment

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least one of the methods listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using area velocity method

assessing risks and applying precautions and action

estimating and explaining the anticipated vertical distribution

making calculations on depth and velocity

maintaining the integrity of measurements

using a range of suitable techniques to determine mean stage in rapidly changing situations

adjusting measurements

plotting discharge measurements on organisation’s preferred scale

using formulae for determining the percentage deviation

using systems and/or software to transfer calculated flows to official database

assembling and testing metering equipment

checking and preparing gauging section

setting tag lines

measuring and calculating readings

gathering, analysing, verifying, interpreting, storing, archiving and reporting data for a range of clients and stakeholders

interpreting complex documentation

sampling

identifying, reporting and solving potential or current problems within scope of job function.

recording the percentage deviation from the rating determined by checking:

calculations

equipment

control

recording equipment

repeat measurement

gathering and documenting supporting information from the site (i.e. gauging section location and access maps, photographic records, site preparation undertaken, comments on issues encountered, data management and reporting)

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

principles and alternative methods of discharge measurement

methods for calculating mean velocity in a vertical

methods for determining the cross-sectional area at a site

requirements for surface, single and multipoint floats

basic mathematical principles for area and velocity measurements

correction procedures for horizontal angles and suspension measurements

techniques for monitoring stage changes during discharge measurement

weighted mean stage calculations

discharge and mean stage adjustment

technical components in calculating discharge

factors impacting on discharge measurements and the quality of the discharge

formulae to adjust gauging

potential impacts of modifications of site, method or equipment on discharge accuracy

confidence limits

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Measuring and processing flows: Assessment must occur on a minimum of two separate occasions, in at least two different locations, using a minimum of two different methods from a broad range of complex methods, with a maximum of one out of two from area velocity methods

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037