# Assessment Requirements for NWPHYD015 Undertake surveying of monitoring sites

Release: 1

Assessment Requirements for NWPHYD015 Undertake surveying of monitoring sites

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least two occasions.

locating features on maps and plans, finding survey reference marks and plotting locations

preparing, setting up and operating surveying equipment

preparing and loading surveying equipment for transportation

maintaining surveying equipment

preparing and holding staves

measuring horizontal distance by stadia

identifying physically survey reference mark

applying sightings and standard error checks

gathering and interpreting complex documentation

applying documentation to the development and maintenance of rating curves

analysing and verifying data using standard procedures, softwares and databases

preparing clear and accurate reports

capturing, storing and archiving data

identifying, reporting and providing solutions to a range of flow conditions

using a GPS

applying appropriate datum and projections

carrying out collimation test to check accuracy

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

mathematical and other scientific techniques relevant to the analysis of hydrographic data

interaction of physico-chemical parameters of the process being monitored and the impact on data being recorded

sensor and/or system characteristics and signal processing and/or algorithms, specifically with chemical sensors

computer software relevant to the analysis and archiving of hydrographic data

water sampling and testing procedures

procedures for use of remote contact communication systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037