# Assessment Requirements for NWPHYS003 Manage and analyse water levels and flows

Release: 1

Assessment Requirements for NWPHYS003 Manage and analyse water levels and flows

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

analysing and reporting on electronic water level gauge data and reducing to survey datum applying tide tables and using appropriate software to determine predicted water levels and tidal streams constructing a co-tidal chart installing, levelling and calibrating an electronic water level gauge portraying stream data

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

aspects of a co-tidal chart changes in water level caused by: atmospheric pressure ocean temperature precipitation seiches wind electronic water level gauge installation techniques, establishment and levelling of associated survey marks methods for measuring tidal streams and currents including: acoustic doppler current profilers (ADCP) current meters drogues networks of electronic water level gauges operating principles of electronic water level gauges including: acoustic sensors atmospheric pressure including vented and unvented float GNSS buoys radar tide poles, boards and staffs methods for planning current and tidal stream surveys methods for reduction of survey data to a datum using: GNSS observations lever-arms and position reference point offsets predicted tides versus measured tide reduction rectilinear and rotary tidal streams relationship between tidal stream and tides vertical datums for sounding reduction water level observations reference levels including mean sea level (MSL), chart datum, and mean high water river and lake datums surface current radar observations tidal fundamentals including: amphidromic points and co-tidal charts geomorphological influences on tidal characteristics major harmonic constituents and different types of tide tide generating forces, the equilibrium and real tides tidal information including: current tables tidal stream tide table tide prediction tools uncertainties associated with: duration of observations measurement devices spatial separation of water level measurements vessel motion characteristics including: draft settlement squat water level variations occurring in: canals estuaries inland lakes reservoirs rivers wetlands

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations. Where this is not appropriate, assessment must occur in suitable simulated workplace operational situations reflecting actual workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and personal protective equipment currently used in industry applicable relevant documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice, and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037