# Assessment Requirements for NWPIRR012 Construct open earthen channels or drains

Release: 1

Assessment Requirements for NWPIRR012 Construct open earthen channels or drains

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

producing reports and logs

using safety and personal protective equipment

using tools and machinery

interpreting plans, charts and instructions

applying procedures and standards

applying channel, drain and batter construction techniques

identifying soil types, mechanics and compaction rates

selecting and operating appropriate compaction plant, including tamping foot and smooth drum roller

operating communication systems

performing work related calculations

constructing open earthen channels and drains

planning work and preparing work site according to given specifications and instructions

cutting channels to specification

compacting soil

taking soil samples

checking that work meets specifications

cleaning and storing equipment

restoring work site

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

channel and drain system design basics

channel and drain system layout

environmental aspects of construction

channel, drain and batter construction processes

measures to reduce channel deterioration, infestation of weeds, pests and seepage

relevant utilities and service providers

safe use of lasers

use of automatic levels

basic levelling techniques

profiles and boning rods

survey principles

soil types, mechanics and compaction rates

capabilities of plant used for construction, including equipment operation, capacity and limitations

communication systems

work related calculations

hazardous materials handling

landscape and ground structure of work area

risk factors and potential hazards of construction processes

effects of weather and conditions on construction site or plant

control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037