# Assessment Requirements for NWPIRR013 Construct and install irrigation delivery and stormwater drainage assets

Release: 1

Assessment Requirements for NWPIRR013 Construct and install irrigation delivery and stormwater drainage assets

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

producing reports and logs

using safety and personal protective equipment

using tools and machinery

interpreting plans, charts and instructions

performing work related calculations

applying procedures and standards

using communication equipment

constructing and installing irrigation delivery or stormwater drainage assets

planning work and preparing work site

constructing assets

installing assets

checking that work meets specifications

cleaning and storing equipment

restoring work site

completing documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system layout

environmental aspects of construction

construction processes

relevant utilities and service providers

communication systems

hazardous materials handling

landscape and ground structure of work area

risk factors and potential hazards of construction processes

equipment operation, capacity and limitations

effects of weather and conditions on construction site or plant

control systems

pre-cast components

pipes and fittings

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037