# Assessment Requirements for NWPIRR014 Install meters for rural water supplies

Release: 1

Assessment Requirements for NWPIRR014 Install meters for rural water supplies

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

planning meter installation and construction

undertaking calculation of head, flow and measurements of pipes and pressure

undertaking locational assessment and risk analysis for meter installation

sampling and testing soil for backfill and installation structures

analysing the impact of water infiltration on the stability of structures

measuring the head of water to judge sufficiency for meter’s accuracy

checking power supply and links

installing ancillary equipment

positioning solar panels to maximise power collection

undertaking a job safety analysis and checking hazards and safety requirements

using and storing equipment on site

determining excavation requirements

calculating sump and headwall elevation and orientation

calculating pipe and meter pit elevation, fall and presentation

installing transducers and cabling safely

interpreting manufacturer requirements for fitting meters in meter pits

using techniques to protect meters from disturbance

assessing the effectiveness of backfill

undertaking site restoration

identifying and analysing client requirements, site conditions and their impact on the types of meter required, and the design of the installation

identifying and analysing environmental conditions and limitations and the impact of work to be undertaken

identifying and analysing safety risks and hazards and responding to remove risks and hazards

preparing sites and equipment for installation

identifying faults, changes and failure indicators

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

the purpose and standards for non-urban water metering

community expectations for water measurement and use

standards for the installation of non-urban meters in open and closed conduit systems

the social, environmental, economic and political responsibilities of water authorities in relation to meter installation

requirements for checking the pattern approval of meters and compliance with meter installation standards

meter manufacturers’ guidelines and installation manual for specific meters

the organisation’s policies and procedures for water meter installation

conditions for meter location and suitable installation assets and meters for the conditions

causes of flow disturbance

potential environmental causes of meter failure

the organisation’s environmental impact guidelines

maintenance requirements for meter facility within and open channel

relevant safety requirements including confined space

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037