# Assessment Requirements for NWPIRR022 Maintain meters for rural water supplies

Release: 1

Assessment Requirements for NWPIRR022 Maintain meters for rural water supplies

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed in at least two of the different fault types listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

reading and analysing electronic display

inputting data into electronic controller

working with low voltage wiring

reading manufacturers’ instructions, plans, exploded drawings and parts catalogues

reading verification marks

using tags and seals

confirming the site and the meter

checking meter condition

replacing components

documenting the maintenance

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant organisational policies and procedures for water meter maintenance

organisational rights and responsibilities

manufacturers’ maintenance procedures for specific meter types

knowledge of checking pattern approval requirements

standards for non-urban metering

GPS coordinates

meter types and accuracy limits

roles and responsibilities of maintenance personnel

WHS guidelines

environmental, cultural and heritage guidelines

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037