# Assessment Requirements for NWPIRR024 Monitor and conduct maintenance on flow control and metering devices

Release: 1

Assessment Requirements for NWPIRR024 Monitor and conduct maintenance on flow control and metering devices

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and reporting operational problems

collecting and reporting system performance information

inspecting flow regulation, measuring and regulating devices

producing reports and logs

using communication systems

giving and receiving instructions

interpreting plans, charts and instructions

interpreting policies, procedures and standards

monitoring the operation of flow control, measuring and regulating devices

selecting appropriate equipment and tools, including personal protective equipment

identifying devices and equipment to be monitored and relevant operational specifications

collecting and recording information on device performance

conducting routine maintenance tasks and securing devices

identifying and reporting problems and anomalies

inspecting system and networks

collecting and recording data on system performance

reporting monitoring and inspecting findings

identifying and reporting on system performance

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

monitoring flow control, measuring and regulating devices’ performance

system hydraulics

system layout

relevant utilities and service bodies

communication systems

materials handling

environmental, landscape and ground structure of water distribution system and network risk factors and potential hazards

equipment operation, capacity and limitations

effects of weather and conditions on operation of system and site

flow measurement procedures

data collection and recording

system flow control mechanisms and control systems

lock out procedures for mechanical and electrical installations

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037