# Assessment Requirements for NWPIRR031 Monitor and control drainage operations

Release: 1

Assessment Requirements for NWPIRR031 Monitor and control drainage operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting plans, topographic drawings, charts, service diagrams, service search diagrams, instructions, policies and procedures

monitoring, operating and controlling drainage systems

monitoring fault reports

scheduling and conducting inspections

collecting performance and usage data

inspecting and adjusting flow regulating systems

monitoring discharge flows

controlling and integrating processes

identifying and addressing problems

completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

inspection of drainage systems

coordination processes

system layout and processes

environmental aspects of drainage systems

policies and standard operating procedures

relevant utilities and service bodies

risk factors and potential hazards involved in drainage systems

equipment operation, capacity and limitations

effects of weather and conditions on operation of drainage systems

pipes and fittings

pumping and valving systems

gravity systems

control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037