# Assessment Requirements for NWPIRR032 Monitor and control rural water distribution operations

Release: 1

Assessment Requirements for NWPIRR032 Monitor and control rural water distribution operations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

solving operational problems

calculating water flows

laying and joining pipes

installing associated fittings and components

interpreting and following plans, instructions and standard operating procedures

using safety equipment and personal protective equipment

using tools and machinery

identifying hazards

monitoring, controlling and coordinating rural water flow, scheduling and delivery

conducting system inspections

gathering and recording system performance data

identifying and correcting system faults

adjusting system to meet demand

integrating processes

analysing system performance

completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

inspection of rural distribution systems

coordination processes

system layout and processes

environmental aspects of rural distribution systems

policies and standard operating procedures

relevant utilities and service bodies

risk factors and potential hazards

equipment operation, capacity and limitations

effects of weather and conditions on operation of rural water distribution systems

pipes and fittings

pumping and valving systems

gravity and control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037