# Assessment Requirements for NWPIRR034 Coordinate and monitor surface water systems

Release: 1

Assessment Requirements for NWPIRR034 Coordinate and monitor surface water systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting and applying legislation and policies

coordinating measuring and testing activities

consulting with customers and stakeholders

conducting site inspections

assessing environmental impact

coordinating and monitoring the operation of surface water systems

identifying water flow, quality and quantity requirements and any environmental factors that may affect these

identifying surface water system performance measures from the SWMP

accessing historic information

conducting or supervising asset monitoring and testing programs

conducting or supervising testing and monitoring of water usage and water quality

coordinating processes to meet targets and optimise system performance

analysing data, completing records and producing reports

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislation

relevant enterprise policies and procedures

surface water system

customer expectations and requirements

climatic and weather characteristics and impacts

hydraulic analysis

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037