# Assessment Requirements for NWPIRR035 Coordinate and monitor the operation of drainage systems

Release: 1

Assessment Requirements for NWPIRR035 Coordinate and monitor the operation of drainage systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

conducting investigations

assessing environmental impact

use safety equipment and personal protective equipment

interpreting plans, topographic drawings, charts, service diagrams, service search diagrams and instructions

interpreting the drainage system management plan and confirming data to be gathered

identifying, analysing and addressing issues that impact on drainage systems, including stakeholder requirements and environmental factors

accessing historic system information

conducting system performance monitoring and testing

analysing and reporting test results

investigating system faults and breaches of the drainage management plan and reporting results and recommendations

monitoring budgets, programs and targets, evaluating data and investigating and reporting on deviations from the drainage system management plan

submitting recommendations to improve system performance and/or customer service standards

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislation, policies and procedures

enterprise financial systems and key performance indicators

inspection of drainage systems

coordination processes

system layout and processes

environmental aspects of drainage systems

risk factors and potential hazards involved in drainage systems

equipment operation, capacity and limitations

effects of weather and conditions on operation of drainage systems

pipes and fittings

pumping and valving systems

gravity and control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037