# Assessment Requirements for NWPIRR042 Monitor and schedule water deliveries

Release: 1

Assessment Requirements for NWPIRR042 Monitor and schedule water deliveries

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

producing basic reports and logs

following plans, charts and instructions

performing work related calculations

operating irrigation and/or domestic stock supply system

checking channel flow

identifying control system faults

preparing schedules for water deliveries for customer orders for irrigation and/or domestic stock supply systems

analysing volumes and flow rates required for water deliveries

monitoring and regulating system performance

adjusting system according to demand

coordinating flow regulating devices

completing relevant documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics

impact of the principles of hydraulics on the operation of flows

coordination processes

principles of scheduling

system layout and operations

policies and standard operating procedures

communication systems

environmental aspects of irrigation and/or stock and domestic supply system asset infrastructure

environment, landscape and ground structure of work area

risk factors and potential hazards of irrigation and/or domestic and stock supply systems

equipment operation, capacity and limitations

effects of weather and conditions on operation of site plant

water flow calculations

flow measurement procedures

gravity systems

control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037