# NWPIRR042 Monitor and schedule water deliveries

Release: 1

NWPIRR042 Monitor and schedule water deliveries

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP316B Monitor and schedule water deliveries. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice |

# Application

This unit of competency describes the skills required to schedule water deliveries for irrigation and/or domestic and stock supply systems, including monitoring flows, analysing data, coordinating hydraulic processes and compiling operational reports.

This unit applies to those working as field staff and operators with a specific responsibility for ensuring that water deliveries meet varying customer requirements.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision, while performing routine tasks ensuring minimum damage to the environment, in a familiar.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Irrigation

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Schedule water deliveries | 1.1 Identify and record customer water orders. 1.2 Analyse water orders to determine water delivery and flow rate requirements. 1.3 Schedule water deliveries to meet flow rate requirements and organisational standards for channel balance and capacity restraints. |
| 2. Monitor water delivery | 2.1 Monitor channel flow rate, regulation and delivery according to customer requirements. 2.2 Maintain delivery performance records. 2.3 Analyse system performance using system data and records to determine actual and planned performance. |
| 3. Coordinate and control water delivery | 3.1 Calculate system adjustments according to demand and organisational requirements. 3.2 Coordinate flow regulation, channel levels, security of flow devices and settings according to demand and organisational requirements. |
| 4. Compile records of water delivery | 4.1 Compile reports from systems performance data. 4.2 Maintain appropriate measurement and delivery records. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP316B Monitor and schedule water deliveries.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPIRR042 Monitor and schedule water deliveries

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

producing basic reports and logs

following plans, charts and instructions

performing work related calculations

operating irrigation and/or domestic stock supply system

checking channel flow

identifying control system faults

preparing schedules for water deliveries for customer orders for irrigation and/or domestic stock supply systems

analysing volumes and flow rates required for water deliveries

monitoring and regulating system performance

adjusting system according to demand

coordinating flow regulating devices

completing relevant documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics

impact of the principles of hydraulics on the operation of flows

coordination processes

principles of scheduling

system layout and operations

policies and standard operating procedures

communication systems

environmental aspects of irrigation and/or stock and domestic supply system asset infrastructure

environment, landscape and ground structure of work area

risk factors and potential hazards of irrigation and/or domestic and stock supply systems

equipment operation, capacity and limitations

effects of weather and conditions on operation of site plant

water flow calculations

flow measurement procedures

gravity systems

control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037