# Assessment Requirements for NWPIRR061 Develop and review groundwater management plan

Release: 1

Assessment Requirements for NWPIRR061 Develop and review groundwater management plan

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

managing groundwater as a resource to be used for water supply

reading and interpreting numerical data to inform groundwater management plan

gathering, interpreting and synthesising information to underpin the sound development of the groundwater management plan, including:

historical data

current legislation and standards

stakeholder views

water quality test results

consulting stakeholders

developing effective groundwater management plans that address the water organisation’s objectives and requirements

using data from testing and other monitoring arrangements to track the performance of the groundwater management plan and inform the review of the plan

preparing reports and recommendations for changes to the objectives of the management plan and its implementation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislation, policies and procedures

risk management principles

groundwater hydraulics

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

GSA website - http://www.govskills.com.au

Implementation Guide - http://www.govskills.com.au/guides/water/implementation-guide

Knowledge Guide - http://www.govskills.com.au/guides/water/knowledge-guide

Assessment Guide - http://www.govskills.com.au/guides/water/assessment-guide