# NWPIWS001 Monitor and operate rural irrigation and domestic delivery systems

Release: 1

NWPIWS001 Monitor and operate rural irrigation and domestic delivery systems

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor and operate rural irrigation and domestic delivery systems. It includes checking and controlling irrigation, stock and domestic supply systems to ensure the delivery of water. This unit applies to those working as field and operational staff with responsibility for delivering raw water supplies to meet customer orders. Those undertaking this unit would work independently or in a team, under appropriate supervision. They would use own familiar resources as required, while performing routine tasks in range of familiar contexts. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Irrigation Water Supply

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Interpret delivery requirements | 1.1 | Schedule deliveries according to customer orders and delivery plan |
|  |  | 1.2 | Monitor system flow rates or sources to ensure orders can be met |
|  |  | 1.3 | Interpret system data to ensure correct operation of system |
|  |  | 1.4 | Undertake a risk assessment according to workplace procedures |
| 2 | Operate irrigation or stock and domestic supply systems | 2.1 | Identify and apply organisational requirements, plans, orders and schedules for the operation of rural irrigation or stock and domestic supply systems |
|  |  | 2.2 | Operate irrigation or stock and domestic supply systems, using safe work methods and appropriate equipment |
|  |  | 2.3 | Monitor deliveries, record adjustments and irregularities and communicate with relevant stakeholders |
| 3 | Identify and address issues | 3.1 | Identify actual and potential problems that may reduce service standards and communicate to relevant personnel |
|  |  | 3.2 | Resolve identified problems within own capability |
|  |  | 3.3 | Record and report workplace activities according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPIRR001 Monitor and operate irrigation and domestic delivery systems

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPIWS001 Monitor and operate rural irrigation and domestic delivery systems

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

checking channel flow and water deliveries communicating with stakeholders completing relevant records and reports ensuring water is delivered to schedule following plans, charts and instructions identifying and reporting problems and irregularities identifying and responding to operational problems interpreting system data interpreting irrigation requirements operating irrigation or stock and domestic supply systems operating, adjusting and monitoring irrigation systems

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

communication protocols control systems effects of weather and conditions on operation of system, site and plant equipment operation, capacity and limitations flow measurement procedures impact of the principles of hydraulics on the operation of flows interpretation of system data layout of drainage or irrigation system lock-out procedures relevant legislation, regulations and workplace procedures relevant service bodies risk factors and potential hazards involved with water system transit time calculations and measurements

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037