# NWPIWS004 Install meters for rural water supplies

Release: 1

NWPIWS004 Install meters for rural water supplies

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to install meters for rural water supplies. It includes confirming conditions of the site for meter installation, installing meter facilities and restoring site. This unit applies to those working as field or operational staff installing meters. Those undertaking this unit would work independently under appropriate supervision, while performing routine tasks ensuring minimum damage to the environment, in a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Irrigation Water Supply

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Confirm conditions of the site for meter installation | 1.1 | Identify the location of the site and establish client information from work plans and job specifications |
|  |  | 1.2 | Identify access to the site and any conditions of access |
|  |  | 1.3 | Assess the conditions of the site |
|  |  | 1.4 | Set out the site for installation of meter according to workplace procedures |
|  |  | 1.5 | Complete risk assessment and identify and control hazards |
| 2 | Install meter facilities | 2.1 | Calculate installation elevations according to design |
|  |  | 2.2 | Install meter as set out according to design and manufacturer specifications |
|  |  | 2.3 | Check fittings, seals and operation according to workplace procedures |
|  |  | 2.4 | Install ancillary equipment and check for operation and seal |
|  |  | 2.5 | Check meter installation for compliance with manufacturer specifications |
| 3 | Restore site | 3.1 | Backfill with suitable material, moisture content and compact |
|  |  | 3.2 | Restore the site according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPIRR014 Install meters for rural water supplies.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037