# NWPIWS007 Detect and rectify faults with automated channel regulators

Release: 1

NWPIWS007 Detect and rectify faults with automated channel regulators

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to detect and rectify faults with automated channel regulators. It includes determining problems with operating automated water regulating devices used in irrigation and stock and domestic supply systems. It also includes collecting data, finding and fixing problems and compiling operational reports. This unit applies to those working as part of an irrigation delivery team with duties to maintain and rectify faults in automated regulating devices. Those undertaking this unit would work under appropriate supervision performing routine tasks in a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Irrigation Water Supply

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare work | 1.1 | Undertake risk assessment at worksite according to workplace procedures |
|  |  | 1.2 | Identify and access fault records from workplace systems |
|  |  | 1.3 | Interpret and categorise fault information according to workplace procedures |
|  |  | 1.4 | Schedule and prioritise actions for repair of faults |
| 2 | Rectify the faults of regulating devices | 2.1 | Use systems to assist in rectifying faults |
|  |  | 2.2 | Inspect faulty device and determine problems and solutions |
|  |  | 2.3 | Undertake regulator repairs to rectify faults according to workplace procedures and safety requirements |
|  |  | 2.4 | Check operating conditions of the regulating device meet manufacturer specifications |
| 3 | Finalise work | 3.1 | Notify operational team of the state of repair work and operating conditions of regulating device |
|  |  | 3.2 | Complete and file reports of repair according to workplace procedures |
|  |  | 3.3 | Liaise with stakeholders according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPIRR023 Detect and rectify faults with automated channel regulator.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037