# NWPNET002 Prepare and restore work site

Release: 1

NWPNET002 Prepare and restore work site

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP226B Prepare and restore work site. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice PC 3.1 removed PC 2.3 and 2.4 merged |

# Application

This unit describes the skills required to prepare work sites. The ability to follow work instructions, use a range of equipment and tools to prepare a safe work site and subsequently to restore the site to the required condition is essential to satisfactory performance.

This unit applies to those working as field and operational staff performing a wide range of functions that support construction, maintenance and operations processes.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS and manufacturer specifications.

Those undertaking this unit would work under supervision, performing routine tasks, in mostly familiar contexts.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Determine site preparation requirements from specifications, instructions and pre-work inspections. 1.2 Identify and report potential hazards to public and environment and assess risks. 1.3 Perform a site check according to legislative and organisational requirements to identify risks and prevent damage to other utilities. 1.4 Select and check work site equipment, tools and materials as appropriate to meet task and safety specifications. 1.5 Select, fit and use personal protective equipment. |
| 2. Prepare work site | 2.1 Position safety equipment and materials to prevent potential risks to public and environment. 2.2 Store and secure equipment and materials. 2.3 Use work site equipment, manual or mechanical excavation equipment, tools and materials. 2.4 Provide appropriate drainage and diversion of site inflows from work site without damage to environment. |
| 3. Restore work site | 3.1 Backfill and compact excavations according to specifications. 3.2 Remove excess soil, debris and unwanted materials from site. 3.3 Restore work site to meet environmental and organisational requirements using equipment, tools and materials. |
| 4. Review, record and report activities | 4.1 Check, maintain and store equipment, tools and materials. 4.2 Maintain workplace records. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP226B Prepare and restore work site.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPNET002 Prepare and restore work site

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

setting up compacting and reinstating a site

interpreting and applying numerical data in specifications and plans

excavating backfill

preparing site for planting and plant vegetation

interpreting plans, instructions, standard operating procedures and work requirements

using tools and equipment

identifying and responding to operational problems

planning work site layout

selecting, using, maintaining, cleaning, storing and securing materials and equipment

clearing and preparing work site according to specifications

restoring work site

cleaning, maintaining and storing equipment

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

WHS

risk factors and potential hazards of site preparation and restoration

environmental aspects of site preparation and restoration

trenching, shoring and excavation management

excavation procedures and site restoration

relevant utilities and service bodies

communication systems

landscape and ground structure of work area

equipment operation, capacity and limitations

effects of weather and conditions on construction site or plant

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037