# Assessment Requirements for NWPNET004 Monitor and operate network systems

Release: 1

Assessment Requirements for NWPNET004 Monitor and operate network systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

collecting data

producing reports and logs

using tools and machinery

following plans, charts and instructions

performing work-related calculations

installing and operating a stand pipe or fire plug

recording water losses

identifying system faults

identifying hazards

implementing remedial action to maintain supply

operating reticulation and distribution systems

identifying conditions of system

preparing work site

monitoring system performance and usage

monitoring and diverting flow

monitoring and regulating pressure

collecting samples

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

impact of the principles of hydraulics on the operation of flows

system layout and performance

standard operating procedures

water hammer

water quality and disinfection requirements

environmental aspects of operation

electrical safety for disconnecting and changing meters and fittings

lock out procedures for mechanical and electrical installations

risk factors and potential hazards of operating water distribution systems

conditions for connection to live water mains

equipment operation, capacity and limitations

effects of weather and conditions on systems, site or plant

control systems

water pumping stations and reservoirs

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037