# Assessment Requirements for NWPNET013 Identify and respond to water problems

Release: 1

Assessment Requirements for NWPNET013 Identify and respond to water problems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and investigating water quality problems

accessing, interpreting and applying relevant organisational and legislative requirements

undertaking sampling and testing procedures

producing reports and logs

using safety equipment and personal protective equipment

investigating types of contamination

interpreting plans, service diagrams, topographic plans, charts and specifications

monitoring inflows

identifying control system faults

monitoring characteristics of water quality

collecting samples

collecting and recording water quality data

completing incident reports and other relevant documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislative requirements and responsibilities

relevant procedures

established environmental management procedures

environmental impact assessment

primary agencies involved in drinking water quality management

water quality standards and issues

causes of water quality deterioration

system hydraulics

incident management processes

system processes, operation, layout

water quality specifications

environmental aspects of water systems and infrastructure

relevant utilities and service bodies

communication systems

risk management principles

risk factors and potential hazards involved in water systems

equipment operation, capacity and limitations

pipes and fittings

pumping and valving systems control systems

forces including gravitational, valve operation, hydraulic and pumps

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037