# NWPNET013 Identify and respond to water problems

Release: 1

NWPNET013 Identify and respond to water problems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP317B Control water quality in distribution systems. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes |

# Application

This unit of competency describes the skills required to monitor, identify and resolve water quality problems in water distribution systems. The ability to identify and investigate operational problems, collect samples and analyse technical information, communicate effectively with stakeholders and to interpret and apply incident management procedures is essential to performance.

This unit applies to those working as field and operational staff with a specific responsibility for monitoring water quality and responding to issues affecting water quality in distribution systems.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision, while performing routine tasks, in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Identify and locate water quality problems | 1.1 Conduct monitoring of water quality. 1.2 Investigate water quality problems and their cause. 1.3 Collect, analyse and report system data. 1.4 Collect, label and record samples. 1.5 Select, fit and use required safety equipment |
| 2. Respond to water quality problems | 2.1 Analyse incidents and apply incident management procedures to resolve water quality problems. 2.2 Notify stakeholders of policies, procedures and plans. 2.3 Monitor the recovery of the system and measure recovery. 2.4 Investigate and review results and take action. |
| 3. Complete documentation | 3.1 Report process faults. 3.2 Compile reports from system data. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP317B Control water quality in distribution systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPNET013 Identify and respond to water problems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and investigating water quality problems

accessing, interpreting and applying relevant organisational and legislative requirements

undertaking sampling and testing procedures

producing reports and logs

using safety equipment and personal protective equipment

investigating types of contamination

interpreting plans, service diagrams, topographic plans, charts and specifications

monitoring inflows

identifying control system faults

monitoring characteristics of water quality

collecting samples

collecting and recording water quality data

completing incident reports and other relevant documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

relevant legislative requirements and responsibilities

relevant procedures

established environmental management procedures

environmental impact assessment

primary agencies involved in drinking water quality management

water quality standards and issues

causes of water quality deterioration

system hydraulics

incident management processes

system processes, operation, layout

water quality specifications

environmental aspects of water systems and infrastructure

relevant utilities and service bodies

communication systems

risk management principles

risk factors and potential hazards involved in water systems

equipment operation, capacity and limitations

pipes and fittings

pumping and valving systems control systems

forces including gravitational, valve operation, hydraulic and pumps

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037