# NWPNET013 Identify and respond to water problems

Release: 1

NWPNET013 Identify and respond to water problems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP317B Control water quality in distribution systems. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes |

# Application

This unit of competency describes the skills required to monitor, identify and resolve water quality problems in water distribution systems. The ability to identify and investigate operational problems, collect samples and analyse technical information, communicate effectively with stakeholders and to interpret and apply incident management procedures is essential to performance.

This unit applies to those working as field and operational staff with a specific responsibility for monitoring water quality and responding to issues affecting water quality in distribution systems.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision, while performing routine tasks, in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Identify and locate water quality problems | 1.1 Conduct monitoring of water quality. 1.2 Investigate water quality problems and their cause. 1.3 Collect, analyse and report system data. 1.4 Collect, label and record samples. 1.5 Select, fit and use required safety equipment |
| 2. Respond to water quality problems | 2.1 Analyse incidents and apply incident management procedures to resolve water quality problems. 2.2 Notify stakeholders of policies, procedures and plans. 2.3 Monitor the recovery of the system and measure recovery. 2.4 Investigate and review results and take action. |
| 3. Complete documentation | 3.1 Report process faults. 3.2 Compile reports from system data. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP317B Control water quality in distribution systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037