# Assessment Requirements for NWPNET014 Perform odour and infiltration investigations

Release: 1

Assessment Requirements for NWPNET014 Perform odour and infiltration investigations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

using safety equipment and personal protective equipment

interpreting plans, service diagrams, charts, specifications, policies, standard operating procedures and plumbing and drainage standards

monitoring inflows

operating computerised equipment

identifying control system faults

investigating and reporting on odour and infiltration problems in the wastewater collection and transfer systems

inspecting and selecting tools and equipment

scheduling inspections

collecting and recording wastewater samples

investigating and reporting odour sources

integrating processes

managing flow regulations, diversions and isolation of the site

identifying, addressing and reporting illegal inflows or discharges

reviewing and addressing investigation results

completing required documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics

monitoring processes

system layout, processes, operation

environmental aspects of wastewater collection systems and infrastructure

infiltration and inflow sources

policies, standard operating procedures and legislation

relevant utilities and service bodies

communication systems

environment, landscape and ground structure of work area

risk factors and potential hazards involved in wastewater collection systems equipment operation, capacity and limitations

effects of weather and conditions on operation of collection infrastructure

pipes and fittings

pumping and valving systems

gravity and control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037