# NWPNET014 Perform odour and infiltration investigations

Release: 1

NWPNET014 Perform odour and infiltration investigations

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to NWP338B Perform odour and infiltration investigations. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice Unit title changed to better reflect unit outcomes |

# Application

This unit describes the skills required to investigate and report on odour and infiltration problems in the wastewater collection and transfer systems. The ability to investigate and resolve wastewater system problems, operate technical equipment and prepare technical reports is essential to performance.

This unit applies to those working as field and operational staff with a specific responsibility for ensuring that odour and infiltration problems in wastewater collection and/or transfer systems are identified and remedied.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to, particularly those related to WHS.

Those undertaking this unit would work under indirect supervision, while performing routine tasks in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan for leak detection | 1.1 Determine work site boundaries and leak detection requirements from plans, specifications and instructions. 1.2 Select and check equipment. 1.3 Use site inspection and service search diagrams according to work site requirements. |
| 2. Operate leak detection equipment and report work | 2.1 Determine and mark work site boundaries from plans and service search diagrams. 2.2 Select, fit and use personal protective equipment. 2.3 Operate leak detection equipment. 2.4 Mark the location of leaks. 2.5 Expose leaks and arrange repair according to testing outcomes and organisational and statutory requirements. 2.6 Review, record and report work. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Unit Mapping Information

This unit supersedes and is equivalent to NWP338B Perform odour and infiltration investigations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037