# Assessment Requirements for NWPNET016 Inspect sewer or stormwater line

Release: 1

Assessment Requirements for NWPNET016 Inspect sewer or stormwater line

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying structural defects, service conditions and other features in a range of different conduits

applying industry inspection reporting code requirements

using data capture software

operating CCTV camera controls and recording systems

accessing and interpreting GIS data, interpreting plans, maps, house service diagrams, instructions, specifications and standard operating procedures

using safety equipment and personal protective equipment

using tools and instruments associated with camera/transport operation, maintenance and calibration

planning, preparing and conducting an inspection of gravity sewer or stormwater conduits

preparing for conduit inspection

identifying the location and extent of the work, methods to be applied, and equipment, including safety equipment, to be used

assessing risks and preparing for hazards

implementing appropriate isolation and inspection procedures

calibrating equipment for conduit inspection

operating and maintaining equipment

conducting inspections and identifying and coding conduit defects and condition

recording data manually, or using approved software program

investigating and recording anomalies

reporting conduit at risk of failure

removing equipment and reinstating system operation

restoring worksite

completing and processing inspection information according to organisational procedures

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

industry inspection reporting code

data capture, recording and reporting software

WHS

confined space entry procedures

typical traffic control arrangements

potential hazards and risk factors of operational processes

equipment operation

techniques of operation in unusual situations

capabilities of camera, lights and transport system

routine maintenance and calibration requirements of camera, lights and transport system

effects of weather and conditions on operation of site or plant

environmental aspects of operation and installation

features of conduits used in Australia for gravity sewer and stormwater construction over the last 100 years

construction and operation of sewerage and stormwater systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037