# NWPNET018 Disinfect network assets

Release: 1

NWPNET018 Disinfect network assets

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to disinfect network assets. It includes planning and preparing the worksite and performing volumetric calculations, when additional disinfection is required. This unit applies to those working as field and operational staff with responsibility for the operation and maintenance of chemical dosing equipment. Those undertaking this unit would work independently, under appropriate supervision, while performing routine tasks with a moderate level of complexity in a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Networks

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for work | 1.1 | Determine work requirements from specifications, instructions and pre-work inspections |
|  |  | 1.2 | Conduct risk assessment for environment, safety and water quality factors |
|  |  | 1.3 | Select and check equipment and personal protective equipment to meet safety requirements of task and worksite |
|  |  | 1.4 | Determine size of area to be disinfected according to work requirements |
|  |  | 1.5 | Perform calculations to establish dose rate, target residual and contact time |
| 2 | Conduct disinfection | 2.1 | Set up and operate chemical dosing equipment at injection point according to manufacturer instructions |
|  |  | 2.2 | Commence chemical dosing at predetermined dose rate |
|  |  | 2.3 | Perform residual measurement to ensure target disinfection residual is being met |
|  |  | 2.4 | Achieve contact time and stop chemical dosing |
| 3 | Finalise work | 3.1 | Collect samples ensuring types, locations and times comply with work requirements |
|  |  | 3.2 | Prepare samples for laboratory testing according to work requirements |
|  |  | 3.3 | Check, maintain and store equipment, tools and materials according to workplace procedures |
|  |  | 3.4 | Restore worksite, complete and submit workplace records according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPNET001 Disinfect network assets.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037