# Assessment Requirements for NWPNET019 Prepare and restore worksite

Release: 1

Assessment Requirements for NWPNET019 Prepare and restore worksite

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least one occasion and includes:

cleaning, maintaining and storing equipment clearing and preparing worksite according to specifications communicating with appropriate environmental controls compacting and reinstating worksite excavating backfill identifying and responding to worksite issues interpreting and applying numerical data in specifications and plans interpreting plans, instructions, workplace procedures and work requirements planning worksite layout preparing worksite for planting and plant vegetation selecting, using, maintaining, cleaning, storing and securing materials and equipment using tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

communication systems effects of weather and conditions on construction worksite or plant environmental aspects of worksite preparation and restoration equipment operation, capacity and limitations excavation procedures and worksite restoration landscape and ground structure of work area relevant legislation, industry standards and guidelines relevant utilities and service bodies relevant workplace procedures risk factors and potential hazards of worksite preparation and restoration

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including legislation, regulations, codes of practice, workplace procedures and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037