# Assessment Requirements for NWPNET021 Install metering equipment

Release: 1

Assessment Requirements for NWPNET021 Install metering equipment

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and responding to operational problems

conducting risk assessment

using electrical safety procedures

using personal protective equipment

producing reports and logs

performing basic calculations to install and test equipment

installing flow control and metering devices

planning and preparing for installation of flow control and metering devices

interpreting plans, specifications and instructions for installation of flow control and metering devices

conducting routine inspections, maintenance and servicing of basic metering, flow control and regulating devices

completing workplace documentation

installing, replacing and securing basic volumetric metering equipment for domestic, industrial and commercial premises

dealing with customers

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

impact of the principles of hydraulics on the operation of flows

system layout

lock out procedures for mechanical and electrical installations

materials handling

environmental, landscape and ground structure of work area for restoration

risk factors and potential hazards

equipment operation, capacity and limitations

effects of weather and conditions on operation of system, site and plant

flow measurement principles and procedures

layout and performance of pipes and fittings

relevant utilities and service bodies

meter types

data collection and recording system

work in confined spaces and at height

electrical safety

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037