# Assessment Requirements for NWPNET022 Maintain and repair network assets for drinking water

Release: 1

Assessment Requirements for NWPNET022 Maintain and repair network assets for drinking water

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed on at least two of the network assets listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

planning work site including personnel, equipment, materials

requesting permits, approvals, other utilities diagrams and maps

implementing appropriate controls

using tools and specific water equipment

selecting and applying appropriate PPE

performing work-related calculations

applying disinfection to tools and materials

using communication tools including phones and laptops

interpreting plans, instructions and procedures

ensuring system hygiene and water quality

determining location, size, utilities, services from plans, specifications and organisational procedures

applying excavation techniques

maintaining and repairing assets

maintaining and repairing tanks by monitoring and operating flow-regulating devices to isolate tanks

maintaining and repairing minor structures by laying concrete

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics basics

environmental aspects of maintenance

relevant legislation, policies and procedures

material safety data sheets (SDS)

landscape and ground structure of work area

risk factors and potential hazards of maintenance processes

equipment operation, capacity and limitations

control systems

disinfection of systems and chemical usage

pipe systems and installation requirements

characteristics of pipe materials

testing and sampling systems

corrosion principles applicable to service pipes and fittings

operation of water meters

formwork preparation and positioning

methods of repairing concrete, brick and stone structures

concrete placement techniques, including compaction

relevant utilities and service bodies to identify allocation of road reserve

effects of weather and conditions on construction site or plan

requirements around excavation

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037