# NWPNET023 Maintain and repair network assets for wastewater

Release: 1

NWPNET023 Maintain and repair network assets for wastewater

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit was released in NWP Water Training Package release 1.0 and meets the Standards for Training Packages. New unit, created drawing upon information from deleted units NWP255B, NWP257B, NWP253B and NWP229B |

# Application

This unit describes the skills required to maintain and repair pipes, drains and wastewater collection assets.

This unit applies to those working as field staff with specific responsibility for ensuring that repair and maintenance of wastewater assets is completed in a safe and timely manner.

The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to.

Those undertaking this unit would work under indirect supervision, while performing routine tasks, in a familiar context, ensuring minimum damage to the environment.

No licensing, legislative or certification requirements apply to unit at the time of publication.

# Competency Field

Networks

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions section. |
| 1. Plan and prepare for work | 1.1 Conduct risk assessment for environmental and safety factors. 1.2 Determine work requirements, materials and configuration from plans, specifications, instructions and/or organisational procedures. 1.3 Check coordination issues with relevant personnel, including isolations, licences and permits to work. 1.4 Identify networks system operation requirements. 1.5 Arrange remove site protection. |
| 2. Conduct maintenance | 2.1 Isolate the work area. 2.2 Determine appropriate repair method from job specifications and instructions. 2.3 Maintain and repair structural damage to assets. 2.4 Check maintenance and repairs to assets to ensure specifications are met. 2.5 Restore work site to meet environmental and organisational requirements. |
| 3. Review, report and record work | 3.1 Check, tag and report faulty equipment and tools. 3.2 Store equipment, tools and materials. 3.3 Complete and process workplace records. |

# Foundation Skills

The foundation skills demands of this unit have been mapped for alignment with the Australian Core Skills Framework (ACSF). The following tables outline the performance levels indicated for successful attainment of the unit.

Further information on ACSF and the foundation skills underpinning this unit can be found in the Foundation Skills Guide on the GSA website.

# Range of Conditions

| Network assets includes: | water mains connections pump stations |
| --- | --- |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Assessment Requirements for NWPNET023 Maintain and repair network assets for wastewater

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. The candidate must be assessed on at least two of the network assets listed in the Range of Conditions. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

planning work site i.e. personnel, equipment, materials

requesting permits, approvals, other utilities diagrams and maps

conducting risk implementing appropriate environmental controls

using tools and specific wastewater equipment

selecting and applying PPE

preserving personal safety

performing work-related calculations

identifying and responding to operational problems including main, connection chokes, pump stations and faults

using communication tools including phones and laptops

interpreting plans, instructions and procedures

determining location, size, utilities, services from plans, specifications and organisational procedures

applying excavation techniques

maintaining and repairing wastewater pipes and fittings by:

undertaking excavation

clearing chokes

undertaking CCTV inspection for roots intrusion, storm water ingress and infiltration

jet foaming

jet cleaning

installing connections

installing pipes and fittings

measuring and cutting pipes

making joints

selecting and placing bedding and backfill material

locating and repairing chokes

repairing valves

controlling flows in gravity networks

maintaining and repairing structures by:

undertaking excavation

repairing access chambers

maintaining pump stations

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

system hydraulics basics

infiltration

roots intrusion

storm water ingress

excavation techniques

ground support systems

environmental and health aspects and impacts

relevant legislation, policies and procedures

safety data sheets (SDS)

landscape and ground structure of work area

equipment operation, capacity and limitations

control systems

pipe systems and installation requirements

characteristics of pipe materials

testing and sampling systems

methods of repairing concrete, brick and stone structures

concrete placement techniques, including compaction

relevant utilities and service bodies to identify allocation of road reserve

effects of weather and conditions on construction site or plant

requirements around excavation

Cathodic Protection, Denso wrap, Stopaq

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037