# Assessment Requirements for NWPNET024 Maintain and repair network assets for bulkwater

Release: 1

Assessment Requirements for NWPNET024 Maintain and repair network assets for bulkwater

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

dewatering and cleaning system and structures

maintaining surface protection

recording work activities

following plans and instructions

using safety equipment and personal protective equipment

conducting maintenance and repair work on bulkwater assets

planning and preparing the work site

performing maintenance and repair tasks according to manufacturer specifications and organisational requirements

conducting cleaning, flushing and disinfection

checking work, restoring work site, storing equipment and completing documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

risk factors and potential hazards involved in maintenance of bulkwater asset processes

component parts

system hydraulics basics

system layout

environmental aspects of operation and maintenance

lock-out procedures for mechanical and electrical installations

landscape and ground structure of work area

control systems

disinfection procedures

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037