# Assessment Requirements for NWPNET025 Coordinate and manage maintenance and repair of network assets

Release: 1

Assessment Requirements for NWPNET025 Coordinate and manage maintenance and repair of network assets

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

identifying and solving operational problems

undertaking calculations

determining work requirements

monitoring system operations and processes

producing reports and logs

using safety equipment and personal protective equipment

interpreting plans and instructions

interpreting the organisation’s policies, standard operating procedures and standards for monitoring and maintenance of assets

calculating water pressures and flows

conducting operational and maintenance inspections

monitoring fault reports

collecting and analysing operational and mechanical data

identifying and assessing work methods effectiveness

planning investigations and repairs

developing repair procedures

assessing risks and specifying preventive methods

selecting equipment, materials, prefabricated components and fittings

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

environmental aspects of water distribution systems and infrastructure

WHS procedures

lock out procedures for mechanical and electrical installations

cleaning and protection of assets

policies and standard operating procedures for monitoring and maintenance of assets

relevant utilities and service bodies

communication systems

environment, landscape and ground structure of work area

risk factors and potential hazards involved with water pressures and flows

equipment operation, capacity and limitations

effects of weather and conditions on operation of supply infrastructure

system pipes and fittings

pumping and valving systems

system layout, process, operation

gravity systems

control systems

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037