# Assessment Requirements for NWPNET026 Install, maintain and repair hydrants

Release: 1

Assessment Requirements for NWPNET026 Install, maintain and repair hydrants

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

reading and interpreting plans and drawings, and relevant standards and instructions

using tools and specific water equipment including valve keys and standpipes

selecting Personal Protection Equipment

maintaining tools

communicating with customers

determining location, size, utilities and services from plans

applying excavation techniques including potholing and cable location

organising traffic management and concrete cutters

conducting risk assessments on site for safety, environmental factors

restoring work site

implementing isolations

operating valves

planning work

complying with water off notices, flow control and shut plans, and permits to work

charging and discharging water mains

restoring site

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

isolations

tools and equipment, including quick cuts

traffic management

standpipes

operating within permit to works and shut plans

charging and discharging mains appropriately

site restoration

relevant legislation and standards

equipment operation, capacity, and limitations

how to escalate issues, barriers and concerns

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037