# Assessment Requirements for NWPNET027 Monitor and control vacuum sewer systems

Release: 1

Assessment Requirements for NWPNET027 Monitor and control vacuum sewer systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

responding to and correcting operational problems

producing reports and logs

using safety equipment and personal protective equipment

identifying and investigating operational problems

collecting and basic analysing of data

interpreting plans, charts, service search diagrams and instructions and specifications

interpreting policies, standard operating procedures and standards

communicating with colleagues and customers

operating control systems

identifying control system faults

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

coordination and control of processes

collection system layout

system processes

environmental aspects of vacuum systems

disinfection and chemical use during maintenance operations

safety procedures

lock out procedures for mechanical and electrical installations

policies, standard operating procedures and legislation

relevant utilities and service bodies

communication systems

risk factors and potential hazards involved with wastewater vacuum systems

equipment operation, capacity and limitations

effects of weather and conditions on operation of wastewater vacuum systems

pipes and fittings

pumping and valving systems

control systems

vacuum station odour control methods

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037