# Assessment Requirements for NWPNET031 Construct and install water distribution assets

Release: 1

Assessment Requirements for NWPNET031 Construct and install water distribution assets

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

laying and joining pipes

installing associated fittings and components

identifying and responding to operational problems

interpreting plans, instructions and standard operating procedures

performing work-related calculations

using tools and machinery

identifying hazards

constructing and installing water distribution system assets

planning work and preparing work site safely

checking quality of work and ensuring water quality standards

clearing the work site

completing documentation

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

risk factors and potential hazards of construction and installation processes

electrical safety for disconnection and changing meters and fittings

equipment operation, capacity and limitations

effects of weather and conditions on operation of site or plant

environmental aspects of construction and installation

component parts

shoring and levelling

conditions for connection to live water mains

Cathodic Protection, Denso wrap, Stopaq

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037