# Assessment Requirements for NWPNET034 Conduct commissioning and post-commissioning activities

Release: 1

Assessment Requirements for NWPNET034 Conduct commissioning and post-commissioning activities

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in NWP Water Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

interpreting contractual specifications, job specifications and design plans

reading and interpreting numerical data relating to asset performance

making adjustments and alterations to designs

planning and managing the commissioning and post-commissioning activities associated with asset construction

interpreting complex documentation in order to prepare a commissioning plan and schedule

developing an effective commissioning plan and schedule

undertaking inspections and other commissioning activities to meet organisational requirements and reflect the specifications of the job

undertaking post-commissioning activities

managing the processes for addressing defects

reporting outcomes

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

evaluation and investigation requirements

reporting requirements

characteristics, technical capabilities and limitations of relevant materials

relevant legislation, policies and procedures

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

GSA website - http://www.govskills.com.au

Implementation Guide - http://www.govskills.com.au/guides/water/implementation-guide

Knowledge Guide - http://www.govskills.com.au/guides/water/knowledge-guide

Assessment Guide - http://www.govskills.com.au/guides/water/assessment-guide