# NWPNET036 Perform leak detection

Release: 1

NWPNET036 Perform leak detection

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to perform leak detection. It includes planning leak detection activities and locating, identifying and reporting leaks in pressure mains water distribution networks. This unit applies to those working as field staff with a specific responsibility for planning and implementing leak detection activities. Those undertaking this unit would work under appropriate supervision, while performing routine tasks in a familiar context, and ensuring minimum damage to the environment. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Networks

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for leak detection | 1.1 | Determine worksite boundaries and leak detection requirements from plans, specifications and instructions |
|  |  | 1.2 | Conduct risk assessment for environmental and safety factors including personal and protective equipment to ensure it is safe to commence work |
|  |  | 1.3 | Select and check leak detection equipment according to workplace procedures |
|  |  | 1.4 | Determine work requirements for the maintenance and repair of assets from work drawings, plans, specifications and instructions |
|  |  | 1.5 | Identify, notify and communicate with customers according to workplace procedures |
| 2 | Operate leak detection equipment | 2.1 | Determine and mark worksite boundaries from plans and service search diagrams |
|  |  | 2.2 | Operate leak detection equipment according to manufacturer instructions |
|  |  | 2.3 | Mark the location of leaks according to workplace procedures |
|  |  | 2.4 | Locate leaks and arrange repair according to testing outcomes, relevant legislation and workplace procedures |
| 3 | Review, report and record work | 3.1 | Restore worksite according to environmental and workplace procedures |
|  |  | 3.2 | Store equipment, tools and materials according to manufacturer and workplace procedures |
|  |  | 3.3 | Complete and process workplace records according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPNET015 Perform leak detection.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037